## EKOW
Please make sure that all the information inside the red boxes is filled in.
|  |  |  | JOB # : | J-135104 |  |  |  |  | Photos
2025-04-19
DATE:
46101 Fremont Blvd. |  |  |  |  | 1222 NE 102 nd Ave Portland OREGEN 97220
SITE:
ADDRESS:
Fremont, Ca 94538
24-Hour Response: 510-449-6241 |  |  |  | POC: | EVGO FIELD OPS
Fax: 510-226-5058 |  |  |  | EMAIL: | evgofieldops@evgo.com
|  |  |  | PHONE #: | 510-320-9081
Preventive Maintenance Type |  |  | General Maintenance Type |  |  | Billed As
One Time PM |  |  | Trouble Call |  |  | Contract work
Re-Start with PM |  |  | Repair Maintenance |  |  | Time and Materials Work
Monthly P M |  |  | Field Change / Upgrade |  |  | Public Relations
Quarterly PM |  |  | Specialized Testing |  |  | Sales
Semiannual PM |  |  | Startup / Restart |  |  | Standby T&M
Annual PM |  |  | Equipment Survey |  |  | PM Access DENIED
Additional Equipment Checked on PM: |  |  | Make | Model # |  | Serial # |  | Equipment Type
Maintenance Bypass Panel |  |  | DELTA | EVHU104UPAB7EG |  | J90222600246A0 |  | 100KW
Annunciator / Remote Panel(s)
Building Management System
Labor | Travel To and From Site |  |  |  |  | Onsite Labor
| Date : | h | Arrived : | Miles : |  | Date : | Start | End :
| 04.19.2025 | 900 | 1230 | 165 |  | 04.19.2025 | 1245 | 1530
Charger needs replacing HMI. Checked in with EVgo and Delta teams. Replaced HMI. Was unable to conduct charging test since both cables were cut/removed.
Arrived to the site, checked in with EVGO, replaced new NAYAX. Called Evgo to properly set up the new device. Successfully conducted charging tests for both prots 5 mins.
visual
|  | Part Description |  |  |  |  | QTY | Parts Supplied By
[8 empty] | Delta | Customer
Service Engineer: | [7 empty] | Rev 11, 01-15-18